## Knee Prosthesis Fields
Please read guidance notes before completion
Knee Prosthesis Data |  |  | Complete one page per knee brand variant
Prosthesis details (complete a separate page for each variant of the knee brand procedure)
Manufacturer
Distributor (if different)
Website address
Knee Type
Knee brand
Variant of knee brand (Basket)
Please tick the box to confirm that you have provided product Codes and Sizes in the Product Codes sheet detailing individual product numbers and descriptions
Please tick the box to confirm that you have provided a product image (as a separate attachment on inserted into this file) *
* A .jpg or a .png file, photo taken against white background, best size 300x300px, resolution 200dpi. This could be used on the ODEP website.
Does this product have a current ODEP rating?
If "Yes", year Rated
Current ODEP Rating (as stated on the ODEP website)
If known, what is the listing URL (the exact address of the webpage) on the ODEP website? |  |  |  | http://www.odep.org.uk/product.aspx?pid=
The date (year) of the first ODEP award for this product
Date of this submission
Knee Design history
Date of first use
Femoral | Tibial | Meniscal | Patella
Date of first clinical use, Global
Date of the original CE mark
Date of the latest CE mark renewal (new MDR)
Date of first clinical use in UK (if applicable)
Design changes (select from drop down list) |  |  |  | Date and details of any design or material changes
Femoral | Not identical - Design/material changed
Tibial | Not identical - Design/material changed
Meniscal | Not identical - Design/material changed
Benchmark Claimed (select from drop-down list)
Beyond Compliance Product
Please tick this box to confirm that you have attached a list of UK implanting centres
Is the clinical data submitted for this knee system representative of the results of all studies conducted in relation to it?
Have any Field Safety Notices (FSNs) or similar notices been issued / served for this product since the current rating was given? If "Yes", please provide further details in the comments box NB! ODEP will make a decision as to whether this information to have a bearing on the submission, but knowlingly failing to declare any FSNs could lead to the rating being removed.
Have RSA studies been conducted on this prosthesis? If "Yes", please attach details of date of study(s), number of patients evaluated, where the study was undertaken and results including time interval between first and second X-Ray NB! ODEP will welcome details of RSA studies as they feel they are important but it is realised that they are not always available and failure to produce RSA studies will not lead to the submission being rejected
Please give details of, and reasons for, data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
Yes
Yes
No

## Knee Clinical Data 1
[5 empty] | Years | #N/A | 3 | 5 | 7 | 10 | 13 | 15
Reference Type |  | Reference: |  |  | Offset | #N/A
Peer reviewed publication |  | Please insert full details of the reference source |  |  |  | Criteria |  |  | Meets criteria
Peer reviewed conference presentation / poster |  |  |  |  | Criteria - Total Knee Replacement | A* | A | B | #N/A | #N/A | #N/A | #N/A | Unsatisfactory | Incomplete | Reason
Data available for peer review | [13 empty] | TRUE | Kaplan Meier Survival Time
Registry data * |  |  |  |  | Minimum number of centres outside development centre(s) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number of centres
* If "Registry Data" is selected, agreement for ODEP to confirm the accurate use of their data with the registry involved
[5 empty] | Minimum number of surgeons outside of the development centre | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number of surgeons
[5 empty] | Minimum for both centres and surgeons |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE
Prosthesis Details |  |  |  |  | Minimum total cohort | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Total number of knees
Knee type (Total Knee / Unicondylar) |  |  |  |  | Minimum at risk at benchmark time | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number at risk at benchmark time
Knee brand |  |  |  |  | Maximum value of 95% upper confidence limit for revision rate | #N/A | #N/A | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 95% upper confidence limit
Knee femoral component type | e.g. Cemented cruciate retaining |  |  |  | Maximum value of 95% lower confidence limit for revision rate | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 95% lower confidence limit
Knee tibial component type | e.g. Metal backed fixed bearing CoCr tibial tray polished |  |  |  | All Criteria |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | : Kaplan Meier Survival Time missing
Knee insert bearing type | e.g. Standard dished highly cross linked CR |  |  |  | Rating | Incomplete
Knee patella type (add "None" if no patellae used in the cohort) | e.g. Domed
[6 empty] | Criteria |  |  | Meets criteria
Clinical Study Details | Total Cohort |  |  | Comments: | Criteria - Unicondylar Knee Replacement | A* | A | B | #N/A | #N/A | #N/A | #N/A | Unsatisfactory | Incomplete | Reason
Number of centres |  |  |  | Please give justification for any cells left blank and provide explanatory comments. | [9 empty] | TRUE | Kaplan Meier survival time
Number of surgeons implanting |  |  |  |  | Minimum number of centres outside development centre(s) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number of centres
Is the study by product developer (designer surgeon)? |  |  |  |  | Minimum number of surgeons outside of the development centre | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number of surgeons
if yes, please provide details of the study in the comments box |  |  |  |  | Minimum for both centres and surgeons |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE
[5 empty] | Minimum total cohort | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Total number of knees
Clinical Study Design (please select from dropdown list) |  |  |  |  | Minimum at risk at benchmark time | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number at risk at benchmark time
[5 empty] | Maximum value of 95% upper confidence limit for revision rate | #N/A | #N/A | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 95% upper confidence limit
[5 empty] | Maximum value of 95% lower confidence limit for revision rate | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 95% lower confidence limit
Patients and Clinical Results (all implants in study) |  |  |  |  | All Criteria |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | : Kaplan Meier survival time missing
Total number of patients |  |  |  |  | Rating | Incomplete
Number of males
Number of females
Mean age of patients and range (years) |  |  |  |  | Criteria - Total Knee Replacement
[5 empty] | Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A* | 13A* | 15A*
Diagnosis: |  |  |  |  | Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3 | 3 | 3
OA |  |  |  |  | Minimum number of surgeons outside of the development centre | 3 | 3 | 3 | 3 | 3 | 3
RA |  |  |  |  | Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Other |  |  |  |  | Minimum at risk at benchmark time | 150 | 225 | 300 | 400 | 400 | 400
[5 empty] | Maximum revision rate ‡ | 3.5% | 4% | 4.5% | 5% | 6% | 6.5%
Total number of knees in study
Number of knees lost due to patients death: |  |  |  |  | Criteria - A Ratings | 3A | 5A | 7A | 10A | 13A | 15A
(explain death rate if above 35% in comments box) |  |  |  |  | Minimum number of centres and surgeons | 3 | 3 | 3 | 3 | 3 | 3
Number of knees lost to follow-up |  |  |  |  | Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Number of knees revised for any reason |  |  |  |  | Minimum at risk at benchmark time | 66 | 60 | 55 | 51 | 45 | 42
Number of knees surviving at end of study |  |  |  |  | Maximum revision rate ‡ | 5.5% | 6% | 6.5% | 7% | 8% | 8.5%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Number of patients examined in person
Number of patients examined by questionnaire/telephone review |  |  |  |  | Criteria - B Ratings | 3B | 5B | 7B | 10B | 13B | 15B
Mean follow-up and range (years) of implants in full cohort |  |  |  |  | Minimum number of centres and surgeons | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | Minimum total cohort | 100 | 100 | 100 | 100 | 100 | 100
Reasons for revision in full cohort |  |  |  |  | Minimum at risk at benchmark time | 40 | 40 | 40 | 40 | 40 | 40
Infection |  |  |  |  | Maximum value of 95% lower confidence limit for revision rate | 3.5% | 4% | 4.5% | 5% | 6% | 6.5%
Instability
Pain |  |  |  |  | Pre-Entry A* | Pre-Entry
Periprosthetic fracture |  |  |  |  | Product launched under Beyond Compliance | Product details supplied to ODEP
Malposition/malalignment
Aseptic loosening
Wear |  |  |  |  | Criteria - Unicondylar Knee Replacement
Other |  |  |  |  | Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A* | 13A* | 15A*
Disease progression |  |  |  |  | Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3 | 3 | 3
Patella - resurfaced as re-operation (no other implant change) |  |  |  |  | Minimum number of surgeons outside of the development centre | 3 | 3 | 3 | 3 | 3 | 3
[5 empty] | Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
[5 empty] | Minimum at risk at benchmark time | 150 | 225 | 300 | 400 | 400 | 400
Kaplan-Meier Survivorship |  |  |  |  | Maximum revision rate ‡ | 4.5% | 6% | 7.5% | 10% | 12% | 13.5%
Kaplan Meier survival time in years
Number of knees remaining at risk at Kaplan Meier survival time |  |  |  |  | Criteria - A Ratings | 3A | 5A | 7A | 10A | 13A | 15A
[5 empty] | Minimum number of centres and surgeons | 3 | 3 | 3 | 3 | 3 | 3
| Revision Rate | 95% Confidence Interval |  |  | Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Cumulative Revision Rate (1 - Survival) |  | Lower CI | Upper CI |  | Minimum at risk at benchmark time | 55 | 45 | 40 | 40 | 40 | 40
All failure modes - any component revised (%) |  |  |  |  | Maximum revision rate ‡ | 6.5% | 8% | 9.5% | 12% | 14% | 15.5%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Provisionally meets critera for rating: | Incomplete: Knee Type missing
[5 empty] | Criteria - B Ratings | 3B | 5B | 7B | 10B | 13B | 15B
[5 empty] | Minimum number of centres and surgeons | 1 | 1 | 1 | 1 | 1 | 1
[5 empty] | Minimum total cohort | 100 | 100 | 100 | 100 | 100 | 100
[5 empty] | Minimum at risk at benchmark time | 40 | 40 | 40 | 40 | 40 | 40
[5 empty] | Maximum value of 95% lower confidence limit for revision rate | 4.5% | 6% | 7.5% | 10% | 12% | 13.5%
[5 empty] | Pre-Entry A* | Pre-Entry
[5 empty] | Product launched under Beyond Compliance | Product details supplied to ODEP
Randomised Controlled Trial
Comparative study
Unselected consecutive cohort
Selected cohort
National registry
Hospital Registry
Company database
Other Registry or database (please describe in comments box)
Yes
No
No
Yes
Note on J16: Meets cohort size and performance, but not minimum number or surgeons/centres
Note on C32: Please ensure that the range is detailed.
Note on C48: Please ensure that the range is entered

## Rating System
Criteria - Total Knee Replacement
Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A* | 13A* | 15A*
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3 | 3 | 3
Minimum number of surgeons outside of the development centre | 3 | 3 | 3 | 3 | 3 | 3
Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Minimum at risk at benchmark time | 150 | 225 | 300 | 400 | 400 | 400
Maximum revision rate ‡ | 3.5% | 4% | 4.5% | 5% | 6% | 6.5%
Criteria - A Ratings | 3A | 5A | 7A | 10A | 13A | 15A
Minimum number of centres and surgeons | 3 | 3 | 3 | 3 | 3 | 3
Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Minimum at risk at benchmark time | 66 | 60 | 55 | 51 | 45 | 42
Maximum revision rate ‡ | 5.5% | 6% | 6.5% | 7% | 8% | 8.5%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Criteria - B Ratings | 3B | 5B | 7B | 10B | 13B | 15B
Minimum number of centres and surgeons | 1 | 1 | 1 | 1 | 1 | 1
Minimum total cohort | 100 | 100 | 100 | 100 | 100 | 100
Minimum at risk at benchmark time | 40 | 40 | 40 | 40 | 40 | 40
Maximum value of 95% lower confidence limit for revision rate | 3.5% | 4% | 4.5% | 5% | 6% | 6.5%
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Product details supplied to ODEP
Criteria - Unicondylar Knee Replacement
Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A* | 13A* | 15A*
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3 | 3 | 3
Minimum number of surgeons outside of the development centre | 3 | 3 | 3 | 3 | 3 | 3
Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Minimum at risk at benchmark time | 150 | 225 | 300 | 400 | 400 | 400
Maximum revision rate ‡ | 4.5% | 6% | 7.5% | 10% | 12% | 13.5%
Criteria - A Ratings | 3A | 5A | 7A | 10A | 13A | 15A
Minimum number of centres and surgeons | 3 | 3 | 3 | 3 | 3 | 3
Minimum total cohort | 150 | 250 | 350 | 500 | 500 | 500
Minimum at risk at benchmark time | 55 | 45 | 40 | 40 | 40 | 40
Maximum revision rate ‡ | 6.5% | 8% | 9.5% | 12% | 14% | 15.5%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Criteria - B Ratings | 3B | 5B | 7B | 10B | 13B | 15B
Minimum number of centres and surgeons | 1 | 1 | 1 | 1 | 1 | 1
Minimum total cohort | 100 | 100 | 100 | 100 | 100 | 100
Minimum at risk at benchmark time | 40 | 40 | 40 | 40 | 40 | 40
Maximum value of 95% lower confidence limit for revision rate | 4.5% | 6% | 7.5% | 10% | 12% | 13.5%
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Product details supplied to ODEP
Combining data sets: Please note, that where any combination of volumes across 2 constructs is included in a submission (e.g. for constructs with or without patellae), a minimum number of 100 implants must be available for each construct. In addition, at least one construct must have the minimum volume past the benchmark being applied for.

## Basket guidance
Please provide a breakdown of the knee system being submitted for benchmark following the format below.
Please highlight the description for each component of your knee variant in the table below
|  |  |  | Femoral Component |  |  | Tibial Component | [5 empty] | Articular Insert |  |  | Patella (optional for TKR required for patello Femoral)
Supplier | Brand Name - Overall Family | Brand Name - subset description | Group classification | Femoral component material | Fixation type femoral | Product Code Range | Tibial Implant type | Tibial component material | Tibial component surface finish | Fixation type tibial | Bearing mobility | Product code range | Articular insert material | Dishing variation | Product Code Range | Shape | Mobility | Pegs | Fixation | Material | Modularity | Thickness | Product code range
Lewis ortho | best knee | best knee gold | TKR CR | CoCr | Cemented - Non-porous | Fem1 to Fem 20 | Metal backed | CoCr | Polished | Cemented - Non-porous | Fixed | TIB1 to TIB20 | Poly - Highly-crosslinked | Standard | BEAR1 to BEAR100 | Domed | fixed | single | cemented | cross linked | Monobloc | 7mm | PAT1
|  |  | TKR Cruciate retaining | CoCr | Cemented - Non-porous |  | All Poly | Poly - Std | N/A | Cemented - Non-porous | Fixed |  | Poly - Std | Standard |  | Domed | Fixed | single | cemented | UHMWPE | Monobloc | <6mm
|  |  | TKR Posterior stabilised | Oxidised zirconium (ceramicised metal) | Uncemented - Porous |  | Metal backed | Poly - Highly-crosslinked | Matt | Uncemented - Porous | Mobile |  | Poly - Highly-crosslinked | Dished / Conforming + |  | Saddle | Mobile | multiple | uncemented | moderatly cross linked | Modular | 6mm
|  |  | TKR Cruciate Sacrificing | Titanium-nitride surface coating | Uncemented - HA |  |  | CoCr | Polished | Uncemented - HA | [5 empty] | anatomical |  |  |  | cross linked |  | 7mm
[5 empty] | Uncemented - HA + porous |  |  | Titanium |  | Uncemented - HA + porous | [9 empty] | cross linked with antioxidant |  | 8mm
[20 empty] | Ceramic |  | 9mm
|  |  | Unicondylar | CoCr | Cemented - Non-porous |  | All Poly | Poly - Std | N/A | Cemented - Non-porous | Fixed |  | Poly - Std | Std | [5 empty] | metal backed |  | 10mm
|  |  |  | Oxidised zirconium (ceramicised metal) | Uncemented - Porous |  | Metal backed | Poly - Highly-crosslinked | Matt | Uncemented - Porous | Mobile |  | Poly - Highly-crosslinked | [6 empty] | metal backed porous |  | >10mm
|  |  |  | Titanium-nitride surface coating | Uncemented - HA |  |  | CoCr | Polished | Uncemented - HA
[5 empty] | Uncemented - HA + porous |  |  | Titanium |  | Uncemented - HA + porous
|  |  | Patello femoral | CoCr | Cemented - Non-porous |  | N/A | N/A |  | N/A | N/A |  | N/A | N/A
|  |  |  | Oxidised zirconium (ceramicised metal) | Uncemented - Porous
|  |  |  | Titanium-nitride surface coating | Uncemented - HA
Uncemented - HA + porous
Bi-compartmental
Other
This section starts from the left with other criteria being selected as appropriate
Area in yellow is an example

## Post Market clinical follow-up
The following information is required for all studies (published or unpublished) initiated by the manufacturer for all products applied for all benchmarks
Prosthesis | Implanting centres | Number of surgeons | Cohort size | Methodology of study

## Product codes
Product code listing
® Please only include the product codes relating to the construct being submitted, to ensure that ratings can be tracked by product code as well as brand.
® This information needs to be provided in the table form below and a separate code for each size (no ranges)
Supplier | Product Brand/Name | Product Description | Product Code | Component | Fixation

## UK Implanting Centres
Please use this sheet to list all UK centres that are implanting the brand family and variant you are submitting
Centre Name (required) | Number implanted over previous 12 month period (Optional)
| Full brand family | Brand Variant under submission

## Guidance notes
Guidance notes
Ratings are in line with the ODEP ratings system shown on the ratings system tab
1 | Each submission should represent an individual product i.e. no mixed cohorts.
2 | Where there is a brand family, each variant should be treated as a different product and a separate submission is required
3 | Submissions for products where the design has changed should only include data for the current variant.
4 | A* ratings will only be awarded where ALL requested data fields are completed in full on ALL sheets.
5 | Each clinical reference requires a separate clinical data sheet to be submitted
Data submitted must be representative of all data available. Any variation should be highlighted on the Prosthesis Fields tab