## Guidance notes
Guidance notes
Version 1.5
This ODEP form is intended to ensure that the panel is fully aware of the nature and scope of variations in design and materials within a brand (or brand variant) submitted for a rating.
Where clinical data is available for different variants within a brand, manufacturers need to make separate submissions with the associated data for the specified set of product codes where available. However, we appreciate that this may not be possible with some sources of clinical data. In those cases, full disclosure of which variants are included in the clinical data is essential for a rating to be applied.
It has always been ODEP’s policy to encourage manufacturers to review the clinical data available to them on their products. Now that increasingly detailed data is available through registries you will be strongly encouraged to review this for the purposes of a rating.
Ratings are in line with the ODEP ratings system shown on the ratings system tab
1 | Please see the website - ODEP Methodology for Spine. As interbody cages are fusion implants, rather than moving implants, the rating system has been amended. The ODEP rating is based on volume and outcome of the implant at minimum 2 years from implantation.
2 | ODEP will only accept registry data which has been published in the latest data available from that registry. Where data from publications and public presentations is used, it will only be accepted within 2 years of publication. For in-house validated data, ODEP will only accept contemporaneous data. ODEP may request manufacturers to validate any in-house data that they use.
3 | Submissions for products where the design has changed should only include data for the current variant.
4 | Ratings will only be awarded where ALL requested data fields are completed in full on ALL sheets. Where data is not available, please state so.
5 | Each clinical reference requires a separate clinical data sheet to be submitted.
6 | Under the heading diagnosis more than one diagnosis is acceptable. More than one box can be ticked.
7 | The number of revisions at the index level/s to be entered into the submission form must include all records in the cohort for: Replacement with another implant, removal of the implant, removal of the implant leaving the space empty, front or back fusion at the same level with the implant being left in place.
8 | At present ODEP does not benchmark implants which are specifically used in a revision situation.
9 | Data submitted must be representative of all data available.
10 | Reasons for rejection: - Revision rate (including all operations described under the heading "revision" is in excess of the benchmark, taking into account of the confidence intervals)
11 | PROMS: ODEP for spine encourages manufacturers to collect PROMS. It is therefore ODEP's recommendation that manufacturers should collect a standard Spine PROM for the specified number of patients who have the device. Mandatory PROMS are required for A* ODEP ratings. Please fill in the PROMs tab if applying for an A* rating. ODEP may request to see the raw data if they feel so inclined.

## Declarations and Consent
Declarations and Consent
Declaration | Response | Explanatory Notes (if required)
Is the clinical data submitted for this product representative of the results of all studies conducted in relation to it? If 'No', please give details of, and reasons for, data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
Have any Field Safety Notices (FSNs) or similar notices been issued / served for this product since the current rating was given? If 'Yes', please provide further details in the comments box NB! ODEP will make a decision as to whether this information to have a bearing on the submission, but knowingly failing to declare any FSNs could lead to the rating being removed.
Have RSA studies been conducted on this prosthesis? If 'Yes', please attach details of date of study(s), number of patients evaluated, where the study was undertaken and results including time interval between first and second X-Ray NB! ODEP will welcome details of RSA studies as they feel they are important but it is realised that they are not always available and failure to produce RSA studies will not lead to the submission being rejected
All data, other than personal data, submitted to ODEP by a manufacturer (or their distributor) in support of a rating application (“Submission Data”) may be made available to third parties for non-commercial research purposes. Submission Data comprises aggregate data and contains no patient identifiable information. Research applications must be approved by NEC (as the data controller) and the ODEP Chair(s). No device or manufacturer will be identifiable, either directly or indirectly, from any data used for this purpose.
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No

## Implant Fields
Cervical Interbody Cage (1 or 2 levels)
Prosthesis details (complete a separate page for each variant if several components share the same brand name)
Implant Type
Manufacturer
UK Distributor (if different)
Implant brand (and variant if applicable) - NB this will be the product name on the ODEP website
Product Codes and Sizes A submission and subsequent rating will be based upon the product codes provided. Addition of any further products to the benchmark range will need approval by ODEP and may require a separate submission |  |  |  | Please provide on the "Product codes" sheet detailing individual product numbers and descriptions
Please provide a product image (as a separate attachment or inserted into the Product Image sheet) |  |  |  | A .jpg or a .png file, photo taken against white background, best size 300x300px, resolution 200dpi. This could be used on the ODEP website.
The date (year) of the first ODEP award for this product
Date of this submission
Technical design features
Component material(s), finish and technical design features.
Material: |  |  |  | (select all that apply):
|  |  | FALSE | Titanium Alloy
|  |  | FALSE | PEEK
|  |  | FALSE | PEEK with Titanium coating
|  |  | FALSE | Tantalum
|  |  | FALSE | Carbon Fiber
|  |  | FALSE | Other (please specify in the box below)
Other:
Design:
Attributes: |  |  |  | (select all that apply):
|  |  | FALSE | Integrated screws
|  |  | FALSE | Integrated spikes
|  |  | FALSE | Mandatory plate
|  |  | FALSE | Graft required
|  |  | FALSE | Other (please specify in the box below)
Other:
Design history
Date of first use
Date of first clinical use, Global
Date of the original CE/UKCA mark
Date of the latest CE mark renewal (new MDR)
Date of first clinical use in UK (if applicable)
Is this implant registered with BSR? |  | Registration date (if applicable)
Have any design changes been made?
If yes, please give details and dates of modifications
Please confirm that all data submitted relates to the latest design
Please give justification if No
Benchmark Claimed (select from drop-down list) >>>
Does this product have current ODEP rating
If "Yes", year rated
If known, what is the listing URL (the exact address of the webpage) on the ODEP website? |  |  |  | http://www.odep.org.uk/product/
Tick the box if this is a Beyond Compliance product
BC
No
Yes
Yes
No
If "Yes", select the rating >>>
No
Yes
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No
No
Yes
No
Yes
Yes
No
Yes
No
No
Yes
No
Yes
Yes
No
Yes
No
No
Yes
No
Yes
Yes
No
Yes
No

## Product Image
Please insert an image
Can this image be used on the ODEP website?
Yes
No

## Product codes
Product code listing
® Please only include the product codes relating to the construct being submitted, to ensure that ratings can be tracked by product code as well as brand.
® This information needs to be provided in the table form below and a separate code for each size (no ranges)
® Please ensure that all component types that relate to this construct are declared - including accessories (screws / blades)
Supplier | Product Brand/Name | Product Description | Product Code | Component Type

## Clinical data sheet 1
Reference Type |  | Reference:
Please select an option from the drop-down lists >>> |  | Please insert full details of the reference source. See guidance notes.
For "Registry data" - the applicant agrees that ODEP can confirm the accurate use of the data with the registry involved
For "In-house data" - the applicant confirms that the in-house data used for this submissions complies with ISO 14155:2020 standards
Clinical Study Details | Total Cohort |  |  | Comments:
Number of centres |  |  |  | Please give justification for any cells left blank and provide explanatory comments
Number of surgeons implanting
Is the study by product developer (designer surgeon)?
if yes, please provide details of the study in the comments box
Patients and Clinical Results (all implants in study) | Number
Total number of patients in the cohort |  | Percentage
Number of males (%)
Number of females (%)
Range
Mean age of patients and range (years)
Diagnosis: | Number | Percentage
Radiculopathy
Myelopathy
Neck pain
Other / Other Description
Total number of implants in cohort
Number of implants lost due to patients' death:
Number of patients lost to follow-up
Number of implants revised for any reason
Number of implants surviving at end of study
| Mean | Range
Mean follow-up and range (months) of implants in full cohort
Intraoperative implant related adverse events (excluding revision reasons) | Number | Percentage
Dural tear
End plate fracture
Nerve root injury
Spinal cord injury
Surgical approach issues
Other / Other Description
Post-operative adverse events (excluding revision reasons) | Number | Percentage
Migration / Dislocation
Subsidence
Other / Other Description
Reasons for revision in full cohort | Number | Percentage
Infection
Malposition/malalignment
Mechanical implant failure
Pseudoathrosis
Index level recurrent radiculopathy and / or myelopathy
Other / Other Description
| Revision Rate | 95% Confidence Interval
Cumulative Revision Rate (1 - Survival) |  | Lower CI | Upper CI
All failure modes
Yes
No
Yes
No
Yes
Yes
No
Yes
No
Note on C18: Please ensure that the range is detailed.
Note on C34: Please ensure that the range is entered

## PROMs
Source of PROMS
Complete one spreadsheet per reference / study
Reference:
Reference Type
Peer reviewed publication
Conference presentation/poster
Data available for peer review
Comments:
Clinical Study Design
RCT
Comparative study
Unselected consecutive cohort
Selected cohort
National registry
PROMs collection |  | Mean Change pre-op to 2 years
% completed
VAS Neck
VAS Arm
EQ-5D
SF-12
SF-36
NDI
COMI
mJOA
Other validated Cervical Spine PROMs

## Rating System
Cervical Interbody Fusion Cages (1 or 2 levels) Criteria
Criteria - A* Ratings | Bronze | Silver | Gold | Platinum
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3
Minimum total number of patients at 2 years | 100 | 150 | 200 | 300
Maximum revision rate at index level/s (replacement with another implant, removal of the implant, removal of the implant leaving the space empty, front or back fusion at the same level with the implant being left in place, revision decompression) | 10% | 5% | 2% | 1%
Maximum failed fusion rates at 2 years from index operation | 10% | 5% | 2% | 1%
Maximum implant related adverse events rate | 10% | 5% | 2% | 1%
Mandatory linked PROMS response numbers | 25 | 50 | 100 | 200
Criteria - A Ratings | Bronze | Silver | Gold | Platinum
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3
Minimum total number of patients at 2 years | 100 | 150 | 200 | 250
Maximum revision rate at index level/s (replacement with another implant, removal of the implant, removal of the implant leaving the space empty, front or back fusion at the same level with the implant being left in place, revision decompression) | 10% | 5% | 2% | 1%
Maximum failed fusion rates at 2 years from index operation | 10% | 5% | 2% | 1%
Maximum implant related adverse events rate | 10% | 5% | 2% | 1%
Voluntary linked PROMS response numbers - no minimum
Criteria - B Ratings | Bronze | Silver | Gold | Platinum
Minimum number of centres outside development centre(s) | 1 | 1 | 1 | 1
Minimum total number of patients at 2 years | 30 | 50 | 70 | 100
Maximum revision rate at index level/s (replacement with another implant, removal of the implant, removal of the implant leaving the space empty, front or back fusion at the same level with the implant being left in place, revision decompression) | 10% | 5% | 2% | 1%
Maximum failed fusion rates at 2 years from index operation | 10% | 5% | 2% | 1%
Maximum implant related adverse events rate | 10% | 5% | 2% | 1%
Voluntary linked PROMS response numbers - no minimum
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Products details provided to ODEP
Valid from 27 May 2025

## Post Market clinical follow-up
The following information is required for all studies (published or unpublished) initiated by the manufacturer for all products applied for all benchmarks
Prosthesis | Implanting centres | Number of surgeons | Cohort size | Methodology of study

## Implanting Centres
Please use this sheet to list all centres represented by the data in this submission.
Centre Name (required) | Number implanted over previous 12 month period (Optional)
| Full brand family | Brand Variant under submission

## Version Control (hidden)
Date | Version | Change
| 1 | Introduced