## Guidance notes
Guidance notes
Ratings are in line with the ODEP ratings system shown on the ratings system tab
1 | Each submission should represent an individual product i.e. no mixed cohorts.
2 | Where there is a brand family, each variant should be treated as a different product and a separate submission is required
3 | Submissions for products where the design has changed should only include data for the current variant.
4 | Each clinical reference requires a separate clinical data sheet to be submitted
5 | Data submitted must be representative of all data available. Any variation should be highlighted on the Prosthesis Fields tab
6 | The country / region of the Implanting Centres should be the same as that of the data source in the Clinical Data Sheet(s).
7 | Validated PROMS data should be submitted, and it is mandatory for an A* rating.
8 | When there is an adequate number of centres / surgeons and patients past the benchmark for an A rating, an A rating has to be used. It is likely that ODEP will only accept submissions for B ratings when the number of patients past the benchmark is less than the minimum required for an A rating or where the number of surgeons / centres is less than 3.

## Prosthesis Fields
Thumb Prosthesis Data
Prosthesis details
Implant Type (please select from the drop-down)
Manufacturer
Distributor (if different)
Implant brand (and variant if applicable)
Product Codes and Sizes A submission and subsequent rating will be based upon the product codes provided. Addition of any further products to the benchmark range will need approval by ODEP and may require a separate submission | [5 empty] | Please provide on the "Product codes" sheet detailing individual product numbers and descriptions
Please provide a product image (as a separate attachment or inserted into the Product Image sheet) | [5 empty] | A .jpg or a .png file, photo taken against white background, best size 300x300px, resolution 200dpi. This could be used on the ODEP website.
Date of this submission
Technical design features
Component material(s), finish and technical design features.
Cup |  | (Include the coating)
Liner
Neck
Stem
Fixation
Design history
Date of first use
Cup | Liner | Neck | Stem
Date of first clinical use, Global
Date of the original CE mark
Date of the latest CE mark renewal (new MDR)
Date of first clinical use in UK (if applicable)
Have any design changes been made?
If yes, please give details and dates of modifications
Please confirm that all data submitted relates to the latest design
Please give justification if No →
Please give justification if No
Benchmark claimed (select from dropdown list) |  |  |  |  | →
Does this product have current ODEP rating
Current rating (if applicable) |  |  |  |  | →
If "Yes", year rated |  |  |  |  | →
If known, what is the listing URL (the exact address of the webpage) on the ODEP website? | [5 empty] | https://www.odep.org.uk/product/
Is this is a Beyond Compliance product?
No
Yes
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No

## Declarations and Consent
Declarations and Consent
Declaration | Response | Explanatory Notes (if required)
Is the clinical data submitted for this product representative of the results of all studies conducted in relation to it? If 'No', please give details of, and reasons for, data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
Have any Field Safety Notices (FSNs) or similar notices been issued / served for this product since the current rating was given? If 'Yes', please provide further details in the comments box NB! ODEP will make a decision as to whether this information to have a bearing on the submission, but knowingly failing to declare any FSNs could lead to the rating being removed.
Have RSA studies been conducted on this prosthesis? If 'Yes', please attach details of date of study(s), number of patients evaluated, where the study was undertaken and results including time interval between first and second X-Ray NB! ODEP will welcome details of RSA studies as they feel they are important but it is realised that they are not always available and failure to produce RSA studies will not lead to the submission being rejected
All data, other than personal data, submitted to ODEP by a manufacturer (or their distributor) in support of a rating application (“Submission Data”) may be made available to third parties for non-commercial research purposes. Submission Data comprises aggregate data and contains no patient identifiable information. Research applications must be approved by NEC (as the data controller) and the ODEP Chair(s). No device or manufacturer will be identifiable, either directly or indirectly, from any data used for this purpose.
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No

## Product codes
Product code listing
® Please only include the product codes relating to the construct being submitted, to ensure that ratings can be tracked by product code as well as brand.
® This information needs to be provided in the table form below and a separate code for each size (no ranges)
® Please ensure Component Type is included, e.g. Metacarpal component, trapezial component, neck, bearing, etc.
Supplier | Product Brand/Name | Product Description | Product Code | Component | Fixation

## Product Image
Please insert an image
Can this image be used on the ODEP website?
Yes
No

## Clinical data sheet 1
Reference Type |  | Reference:
Please insert full details of the reference source. See guidance notes.
For "Registry data" - the applicant agrees that ODEP can confirm the accurate use of the data with the registry involved
For "In-house data" - the applicant confirms that the in-house data used for this submissions complies with ISO 14155:2020 standards
Cohort Prosthesis Details brands and variants (as applicable)
Cup
Liner
Neck
Stem
Clinical Study Details | Total Cohort |  |  | Comments:
Number of centres
Number of surgeons implanting
Is the study by product developer (designer surgeon)?
if yes, please provide details of the study in the comments box
Clinical Study Design (please select from dropdown list)
Patients and Clinical Results (all implants in study)
Total number of patients
Number of males (%)
Number of females (%)
Mean age of patients and range (years)
Diagnosis:
OA
Trauma
Inflammatory arthritis
Other
Total number of implants in cohort
Number of implants lost due to patients death:
(explain death rate if above 35% in comments box)
Number of implants lost to follow-up
Number of implants revised for any reason
Number of implants surviving at end of study
Number of patients examined in person
Number of patients examined by questionnaire/telephone review
Mean follow-up and range (years) of implants in full cohort
Reasons for revision / re-operation in full cohort (multiple responses allowed) | Number | Percentage
Failure of osteo-integration (early failure - first three months)
Infection
Dislocation |  |  |  | Recall Notices
Malposition / malalignment |  |  |  | Have ‘Recall’ notices ever been issued for any of the variants submitted and what actions have been taken.
Mechanical implant failure (e.g. dissociation of modular head)
Aseptic loosening |  |  |  |  | (select from dropdown)
Wear |  |  |  | If yes, please describe the actions taken
Persistent pain
Fracture
Other
If the joint was revised, what was revision procedure? | Number | Percentage
Exchange of neck
Revision of trapezial component
Revision of metacarpal component
Revision of all implants
Revision to different implant (please record implant name)
Trapeziectomy
Other
Further operations around thumb | Related to implant (Y/N) | Number | Percentage
Trigger release
De Quervain's release
SRN neurolysis
STT operations
Other
Kaplan-Meier Survivorship
Kaplan Meier survival time in years
Number of implants remaining at risk at Kaplan Meier survival time
| Revision | 95% Confidence Interval
Cumulative Revision Rate (1 - Survival) |  | Lower CI |  | Upper CI
All failure modes - any component revised
Metacarpal component Revision
Trapezial component Revision
Neck component Revision
Re-operation for any other reason
Yes
No
Note on C25: Please ensure that the range is detailed.
Note on C42: Please ensure that the range is entered

## Ref (hidden)
Randomised Controlled Trial
Comparative study
Unselected consecutive cohort
Selected cohort
National registry
Hospital Registry
Company database
Other Registry or database (please describe in comments box)

## PROMs 1
Thumb PROMs
Complete one spreadsheet per reference
Reference:
Reference Type
Peer reviewed publication
Conference presentation/poster
Data available for peer review
National registry
Comments:
Clinical Study Design
RCT
Comparative study
Unselected consecutive cohort
Selected cohort
PROMs collection (you should provide data for AT LEAST one PROM instrument
| % completed | Pre-op | Post-op / 6 months | 1 Year | 3 Year | 5 Year | 7 Year | 10 Year
VAS
PROM
Key Pinch - absolute (kg)
Patient Satisfaction
Other (describe)
Range of Movement results (optional) | % completed | Pre-op | Post-op / 6 months | 1 Year | 3 Year | 5 Year | 7 Year | 10 Year
Palmar abduction (degs)
Radial Abduction (degs)
Opposition (cm)
Kapandji
Other (describe)

## Rating System
Criteria - Trapeziometacarpal Joint
Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A*
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3
Minimum total cohort | 75 | 100 | 125 | 175
Minimum at risk at benchmark time | 40 | 65 | 80 | 130
Maximum Kaplan Meier revision rate | 4% | 5% | 6% | 7%
Minimum number of PROMS score | 20 | 33 | 40 | 65
Criteria - A Ratings | 3A | 5A | 7A | 10A
Minimum number of centres and surgeons | 3 | 3 | 3 | 3
Minimum total cohort | 75 | 100 | 125 | 175
Minimum at risk at benchmark time | 25 | 50 | 70 | 100
Maximum Kaplan Meier revision rate | 9% | 10% | 12% | 14%
Criteria - B Ratings | 3B | 5B | 7B | 10B
Minimum number of centres and surgeons | 1 | 1 | 1 | 1
Minimum total cohort | 35 | 55 | 75 | 100
Minimum at risk at benchmark time | 10 | 25 | 40 | 55
Maximum Kaplan Meier revision rate | 4% | 5% | 6% | 7%
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Products details provided to ODEP
Valid from 9 July 2025

## Post Market clinical follow-up
The following information is required for all studies (published or unpublished) initiated by the manufacturer for all products applied for all benchmarks
Prosthesis | Implanting centres | Number of surgeons | Cohort size | Methodology of study

## Implanting Centres
Please use this sheet to list all centres represented by the data in this submission.
Centre Name (required) | Number implanted over previous 12 month period (Optional)
| Full brand family | Construct under submission

## Version Control (hidden)
v 1.2 | 2023-11-21 | form designer - distribution to the Panel
v 1.3 | 2023-11-21 | form designer - design amendments and distribution to the Panel
v 1.4 | 2024-03-15 | Minor changes to the Criteria and the clinical data sheet